INSTRUCTIONS FOR RUNNING IRAF ON OFFICE PC FOR SPROUL DATA

revised:  24-Aug-98

Part I.    Preliminary Steps and Corrections

Section 1.    Login & Startup XWindows

1.1    Login & Starting xwindows

On physics PC, start linux (if not already in it) and log in with username & password.

To initiate xwindows, type:    startx

1.2    Opening xterm, xgterm, & ximtool Windows

Now open three windows in xwindows, as follows:

- First, click on xterm button on the upper right panel. This opens an xterm window. Notice upper-left square in the Desktop on the lower right panel is highlighted.

- Now click on the desktop square just to the right of this and then click on the xgterm button on the upper right panel.

- Finally, click on the desktop square just to the right of the one occupied by xgterm, then click on the ximtool button. Three windows open, as indicated by 3 buttons at bottom of display screen.

Section 2.    Setting Up the Process Directory

2.1    Changing to Process Directory

In xgterm (middle) window, first change to the process directory you will be working in: e.g.,

cd /data1/sproul/process

To see what files are contained in the proces directory, type at prompt:    ls

It is assumed that all unwanted files from the previous analysis have been deleted from process directory.    However, if not, determine which of the following is true:

- If the process directory contains files that have already been copied (Section 2.2 below) from one of the data night files, but have not yet been processed for bias, dark, and flat corrections, then proceed to Section 3 if the files need to be converted from .fit to .imh, or to Section 4 if they have already been converted but still need to be processed for bias, dark, and flat corrections.

- If the process directory contains files that have already been processed for bias, dark, and flat corrections,    but have not been measured for magnitudes, proceed to Section 7 in Part II.

- If the process directory contains files that have already been analyzed by photometry (Sections 7 & 8) and magnitudes obtained, proceed to Section 10 on cleaning up the process directory in preparation for copying new files into it.    Then return to Section 2.2 below.

2.2    Copying .FIT Files from <observing date> to Process Directory

In xgterm (middle) window, change to process directory: e.g. cd /data1/sproul/process

Then copy the fit files you are going to work on from <observing date> directory to the process directory.    For example:

cp ../082298/*.FIT.gz . 		if files have .gz extension

cp ../082298/*.FIT .  		if files do not have .gz extension

*Note:    If there were no calibration (bias, dark, or flat) images taken on that date check if there are recent ones in the process directory.    If not, copy calibration images from a directory that is closest in date to the files you are working on to the process directory.

2.3    Unzipping Files    (if needed)

To unzip the .fit files in the process directory, type at the    > prompt:

gunzip *.FIT.gz		if you have not yet started IRAF ( > prompt)

!gunzip *.FIT.gz    	if you have already started IRAF (cl> prompt)

*Note:    The command mkiraf has already been executed in the directory process.    If, for some reason, you have made a new process directory then type mkiraf, and respond to terminal type: xgterm

Section 3.    Starting IRAF & converting .fit to .imh files

3.1    Starting IRAF

To start IRAF (if not already started, as indicated by cl> prompt),    type: cl

3.2.    Converting .fit Files to .imh Files

At cl> prompt, type:

cl> files *.FIT    >    fit.list      	creates file called  fit.list

View and edit list by first typing:

cl> vi fit.list

Remove any unwanted entries by moving the cursor to the line with the file name and hitting d twice (dd).

If you made changes to the list save them with

:w

Now change all the .fit endings to .imh endings using:

:g/.FIT/s/.FIT/.imh

Now save the new list as image.list with:

:w image.list

Now exit vi editor:

:q			quits vi editor

Finally, edit the rfits parameter list:

cl> epar rfits			edit rfits parameters

fits_fil = @fit.list

iraf_fil = @image.list

:go			begins process of creating .imh files

cl> del *.FIT      		deletes all *.fit files, which are not needed any more

*Note:    From this point on the instructions will use all lower case for file names, use upper case where appropriate.    Files transferred from the observatory by FTP will usually be all upper case.

General Notes:

- Command df    -k gives amount of space left in each directory

- Command mkiraf must be executed in each subdirectory where files are to be processed

- Once .imh files have been created, all .fit files can be deleted.

Section 4.    The IRAF Correction Package ccdred

4.1    Starting ccdred

cl>    noao

no> imred

im> ccdred

4.2    Setinstrument for AP6 Camera

cc> setinstrument site=sproul

Respond to Instrument ID: ap6    <Enter>

:q

This brings up a second window.    Type in the following (if they are not already present):

images = @image.list

zero = Zero

dark = Dark

flat = Flat*

:wq			quits and saves parameters

*Note:      At this point you may skip to Section 6 Correcting All Images Using Master Bias, Dark, and Flat Frames if you are going to use previously processed Bias, Dark, and Flat images.

Section 5.    Combining Bias, Dark, and Flat Files to produce Single Master Frames

5.1    Combining Bias (Zero Exposure) Frames

cc> ccdlist *.imh	    ccdtype=zero	lists CCD processing information on all bias (zero) files

cc> epar zerocombine		edit the zerocombine parameter list

input = @image.list

process = yes

:go			combines all bias files into a single file Zero.imh

5.2    Combining Dark Frames

cc> ccdlist *.imh    ccdtype=dark	lists CCD processing information on all dark files

cc> epar darkcombine		edit the darkcombine parameter list

input = @image.list

process = yes

scale = none

:go			combines all dark files into a single file Dark.imh

5.3    Combining Flat Frames

cc> ccdlist *.imh    ccdtype=flat	lists all .imh files which are flats

cc> epar flatcombine		edit the flatcombine parameter list

input = @image.list

output = Flat

process = yes

subsets = yes

:go			creates combined flat.imh file for all    filters.

5.4    Deleting Original BIAS, DARK, & FLAT Frames

Now that the master frames Zero.imh, Dark.imh, and Flat.imh have been created, you can delete individual bias (zero), dark, and flat frames, since they are no longer needed.

cc> imdel BIAS*

cc> imdel DARK*

cc> imdel FLAT*

*Note:    If bias frames have base name different from BIAS, then use that base name in imdel command above.    The same applies for dark and flat frames.

Section 6.    Processing the Images

6.1    Correcting All Object Files with Master Bias, Dark, and Flat Frames

cc> epar ccdproc

images = @image.list

:go				divides each file by combined flat

*Note: This may take several minutes, depending on the number of files to be processed.    Take a break!

When done, the cc> prompt returns.    To verify that corrections have been made for all object files, type:

cc> ccdlist *.imh ccdtype=object		corrected files should have displayed [TZDF]

6.2    Exiting the ccdred, imred, and noao Packages

Once finished, , exit the iraf image correction packages by typing in xgterm window:

cc>bye

im>bye

no>bye

You should now be back to the root IRAF screen with cl> prompt. Proceed to Part II, Photometry.

Part II.    Photometry

Section 7.    Displaying and Examining Corrected Images

7.1    Starting IRAF:    (if already started, go to next subsection, Running Apphot)

If you are continuing from the previous sections with IRAF already up and running, go on to the next step.

Be sure to be in process directory with IRAF running and cl> prompt displayed.    If not, type at prompt:

> cl

7.2    Running Apphot

The photometry package apphot will allow us to determine magnitudes.    To access it, type:

cl> noao

no> digi

di> apphot

The prompt displayed should now be ap>.

7.3    Displaying Image Files

To adjust the display screen for optimal viewing, type:

ap> epar display

fill = yes

:wq

Next, to see what files are contained in the directory and then display them, type at prompt:

ap> ls

Choose any one to four files to display in the ximtool buffer.    Usually, we display the R frame in buffer 1 and the V frame in buffer 2.    If the comparison star is on separate frames from the target star, then display the comp R frame in buffer 3 and the comp V frame in buffer 4.

ap> disp    filename.imh    1		displays given image in buffer 1 in ximtool window

ap> disp    filename.imh    2		displays given image in buffer 2 in ximtool window

etc. 			etc.

7.4    Orienting Frames

Each frame displayed in the ximtool window should be oriented so that North is up and East to the left, as is viewed on the CCD computer. In most cases, the frame will be inverted up-down from this orientation, and so follow the procedure outlined:

- Click on vertical up-down arrow above panner in upper right corner of ximtool window.    This will invert image vertically to achieve desired effect.

- Repeat this in each of the four buffers.

- Once set, you do not need to do this again in this buffer unless you close down and later reopen the window.

Section 8.    Preliminary Photometry with Imexamine

8.1    Starting Imexamine

We wish to obtain statistics of the target star and each comparison star image in the CCD frame, before proceeding to the precise photometry technique. First, in xgterm with window active, type

ap> imexamine			gets statistics on the image needed in datapars below

Note:    After typing imexamine, the xgterm window will no longer respond to commands.

8.2    Measuring FWHM, Sky, Peak Threshold, and Preliminary Magnitudes

After typing imexamine in xgterm window, perform the following steps:

- Click on ximtool button at bottom of page: this will take you to ximtool window, where the image will be displayed with blinking circular cursor (annulus).

- The ximtool window should be active (bar displayed at top is blue). If not (bar is gray), hit <Enter> or click on image.

- Move cursor to target star and type “a”.    This prints out stats on image in xgterm window. Check this now in xgterm window, then return to ximtool window and repeat for each star of interest in field.

- Alternatively, with cursor on star, type “r”, which produces a radial profile of the star image. Record Mag, Peak Threshold, Sky, Ellipticity and FWHM values (the 10th, 8th, 7th,    5th and 2nd numbers from the right, respectively).    Also note that the 7th value from the right is useful in determining the minimum good sky value (subtracting about 50 to 150 counts from this number is usually a good value to use in the apphot package.

- After completing measurements on all star images in the ximtool buffers, you will need to exit imexamine in order to load (display) more images in the four buffers.    To quit imexamine mode, type “q” anywhere within the image displayed in active ximtool window (be sure top bar is blue).

- Repeat these steps for each image file in the directory.    From the measured FWHM, you will need to calculate 1.7 FWHM and 2.5 FWHM, to be used in the magnitude calculations below. These values can be readily calculated using the tables included in the Appendix.    After making these measurements for all stars in the directory, proceed to the steps below, where you will set the parameters to be used in calculating fluxes from star and sky, and subsequently instrumental star magnitudes.

8.3    Exiting Imexamine

To exit imexamine mode, move to imexamine window, make active (blue bar at top), then type “q” on active image in ximtool window.

Section 9.    Precise Photometry with Apphot Package

9.1    Setting Parameters for Apphot

ap> datapars

scale = 1			you should not have to change this

fwhmpf = FWHM in pixels  	FWHM found by examining image above

sigma = 20			default for AP6 CCD chip

datamin = sky value 		sky value found from examining image above

datamax = 50000			default for AP6    CCD chip

readnoi = 19.0			default for AP6    CCD chip

epadu = 3.5			default for AP6 CCD chip

exposu = EXPTIME		keyword in header for exposure time

airmass = AIRMASS 		keyword in header for air mass

filter = FILTER			keyword in header for filter (B,V,R)

obstime = TIME-OBS		keyword in header for time of observation

itime = INDEF

:wq

ap> findpars

thresho = 1.7 FWHM in pixels	    	FWHM = 2.35s,    so 1.7 FWHM    »    4s

:wq

ap> fitskypars

annulus =    2.5 FWHM in pixels		inner diameter of annulus in pixels

dannulus = 10-15				width of annulus band, between 10 and 15 pixels

skyvalue = minimum good value data 	usually ³    100 counts (above bias level)

For long (5-10min.) exposures this can be

as high as 1000.

:wq

ap> photpars

aperture = 1.7 FWHM in pixels

:wq

ap> epar daofind

image =    filename.imh 			e.g., image = M5R.imh

:go

You will now be prompted to verify the values of the parameters entered.    Press press <Enter> after each prompt to accept the default value, unless you want to change something:

FWHM of features:    <Enter>		accepts default value already entered

standard dev of background: <Enter>	accepts default value of 20

detection threshhold in s:	 <Enter>	accepts default value already entered

minimum good data value: <Enter>	accepts default    value used in fitskypars routine

maximum good data value: <Enter>	accepts default value of 50000

ap> epar phot

image =    filename.imh			e.g., image = XXCYGR.imh

coords = default

interact = no

verbose = yes

:go

You will now be prompted to verify the values of the parameters entered.    Unless you want to change something, just press <Enter> after each prompt to accept the default value.

centering algorithm = 	<Enter>

centering box = 		<Enter>

etc. …

min good value = 	<Enter>

max value = 		<Enter>

A list of star images with various parameters including magnitudes will appear. Write down the instrumental magnitudes of the two or three stars that you are interested in, identified by their coordinates.

To view this list again using the vi editor, type at the prompt:

> vi <filename.coo.*>

> vi <filename.mag.*>

9.2    Using txdump Command to Print Out a List of Magnitudes

To print out a list of magnitudes for each object frame using the apertures and sky annuli specified above,    type:

> txdump    filename.imh.mag.1    image,id,mag,merr,flux,sky,ifilter

9.3    EUsing tvmark to Display Numbers on the Image    (Optional)

To display numbers on graph, type:

> epar tvmark

label = yes

number = no

:go

Section 10.    Cleaning Up Process Directory After Finishing One Night’s Data

*Note:    Do not perform this section until magnitudes have been calculated and recorded for all stars in the process directory.

If you have not already done so, exit the three IRAF packages with a triple bye:

cc> bye

di>    bye

no> bye

The cl> prompt should now by showing.

Once magnitudes have been calculated, you can delete the files containing them.

cl> del *mag*

cl> del *coo*

Next, delete the .imh files leaving the Dark, Flat, and Zero frames for future use, with commands:

cl> files *.imh    >    del.list      		creates file called  del.list

cl> vi del.list				edits file del.list

Delete the lines with the following names:

Dark.imh

Flatb.imh

Flatr.imh

Flatv.imh

Zero.imh

Use the cursor keys to move to the line with the filename and press d twice (dd) to delete the line. Then, type

:wq

cl> epar imdel

images = @del.list

:go

Now delete the .list files

cl> del *.list

Section 11.    Exiting IRAF and Logging Out

When ready to go home, you should first exit IRAF, close all windows, and log out of the system using the following commands:

11.1    Exiting xgterm & xterm windows:

- Go to the xgterm window and exit IRAF by typing at prompt: logout

- Then to close the xgterm window, simply type: exit

- Next, go to the xterm window and type:    logout

- You do not have to exit from the ximtool window which will close down on exit, so just leave it

11.2    Exiting the xwindows program:

- To exit the xwindows environment, first click on the Start button at the lower left of the screen, which will display a list of options, then click on “Yes, Really Quit”.

11.3    Logging out of physics computer:

- This will then display a black screen with the prompt physics>

- Type logout at the prompt, which will leave the computer in LINUX mode.

- Leave the computer on; a screensaver will kick in after about 30 minutes